Fire Prevention and Response Manual

ALVAREZ FUEL EXPRESS

Looc, Poblacion, Palanas, Masbate

SAFE STORAGE AND PROPER LPG HANDLING

CYLINDER STORAGE AND HANDLING

- Site well-ventilated.

- Away from populated areas

- Ignition sources controlled.

## STORAGE WITHIN BUILDING

- Provided with firefighting equipment.

  - All storage shall be clearly marked with notices particularly at entrances to the storage.

Warning Notices:

“LPG Highly Flammable”

Prohibition Signs:

“No Smoking”,

“No Naked Flames”

  - Access must be restricted to authorized persons only.

  - No drains and floor opening.

  - Ventilated area.

SAFETY TIPS

  - Use soapy water when checking for leaks.

  - Use LPG resistant flexible hose.

  - Since LPG vapor is heavier than air, it is therefore unsafe to install LPG tanks on the lowest portion of any structure.

- Preferably ground level.

- Only LPG should be kept in the storage place.

- Building structure shall be made of non-combustible materials.

- Container should be firmly secured and set upon firm foundation.

- No electrical apparatus should be installed provided it is explosion proof type.

- Do not store LPG cylinder in kitchen cabinets without proper ventilation.

- Keep cylinder upright. Never invert or let lie horizontally.

- Store cylinder away from electrical appliances and other sources of fire/ignition

# EMERGENCY RESPONSE PROCEDURE

  - Eliminate all sources of ignition imme- diately. Do not switch on/off electrical switches which may cause sparks.

  - Close the main gas valve to stop the flow of gas.

  - Open windows, doors, and other open- ings to increase ventilation.

  - Cover leaking portion with wet cloth and/ or spray water to disperse vapor cloud.

- If leak is on the cylinder, bring the cyl- inder to a well-ventilated and isolated area.

- If the escaping vapor catches fire: Shut- off main gas valve as well other valves along the line.

- If fire is on cylinder, spray on the upper portion of the cylinder to keep it cool.

- Safety Tips

Don’t change cylinders in the presence of naked lights.

Don’t use tools to operate cylinder valves.